| Asset Prioritization Worksheet |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date Worksheet Completed/Updated: |  |  | Page: |  |
| Asset | Remaining Useful Life | Importance | Redundancy | Priority (0 is high) |
| Line 23 – 2” line on west side Longview-Adaton Road heading to Morris Road – 964 ft | 5 years | Important Score = 1 | No Redundancy Score = 1 | 5 = 5 x 1 x 1 |
| Tank 2 paint | 10 years | Important Score = 2 | No Redundancy Score = 1 | 20 = 10 x 2 x 1 |
| Well #1 | 0 years | Important Score = 1 | Redundancy Score = 2 | 0 = 0 x 1 x 2 |
| 4” valve – southeast corner of New Light Road and Gray Road | 20 years | Medium Importance Score = 3 | Redundancy Score = 2 | 120 = 20 x 3 x 2 |
| SCADA system | 19 years | Important Score = 2 | No Redundancy Score = 1 | 38 = 19 x 2 x 1 |
| 40’x60’ meeting and storage building | 45 years | Fairly Important Score = 4 | Redundancy Score = 2 | 360 = 45 x 4 x 2 |
| 2” and 2½” lines on Gray Road and past Gray Road on New Light Road (18,777 feet; P-3, P-4, P-5, P-12, P-22) | 5 years | Important Score = 1 | No Redundancy Score = 1 | 5 = 5 x 1 x 1 |
| Fire hydrants (4) | 32 years | Important Score = 1 | No Redundancy Score = 1 | 32 = 32 x 1 x 1 |
| Well #2 Chlorinator | 11 years | Important Score = 1 | Redundancy Score = 1 | 11 = 11 x 1 x 1 |
| Well #1 pressure tank | 0 years | Important Score = 1 | Redundancy Score = 2 | 0 = 0 x 1 x 2 |