## Sheet1
| System Inventory Worksheet | [8 empty] | Date: |  | 2025-04-03 | [8 empty] | Inflation Rate |  | 7.01% | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45
System Category | Asset | Line Segment | Length of Pipe (ft) | Latitude | Longitude | Expected Useful Life |  | Condition | Service History | Age |  | Adjusted Useful Life |  | Remaining Useful Life |  | Criticality | Prioritization Score |  | Cost Category | Current Cost |  | Future Cost Category | Future Cost | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Year 26 | Year 27 | Year 28 | Year 29 | Year 30 | Year 31 | Year 32 | Year 33 | Year 34 | Year 35 | Year 36 | Year 37 | Year 38 | Year 39 | Year 40 | Year 41 | Year 42 | Year 43 | Year 44 | Year 45
[6 empty] | Length | Time Unit |  |  | Length | Time Unit | Length | Time Unit | Length | Time Unit | [8 empty] | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
Dist | Line P23 – 2” line on west side Longview-Adaton Road heading to Morris Road – 964 ft | P-23 | 964 | 33.4307 | -88.8019 | 35 | years | Very leaky; pipe is deteriorating | Averages a leak every three months. Each leak takes 1½ hours to repair | 20 | years | 25 | years | 5 | years | 1 | 5 |  | 1 | 6892.6 |  | 4 | 17990.8008 | 3598.1602 | 3598.1602 | 3598.1602 | 3598.1602 | 3598.1602 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 3914.8902 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031 | 21297.5031
Dist | 2” and 2½” lines on Gray Road and past Gray Road on New Light Road (18,777 feet; P-3, P-4, P-5, P-12, P-22) | P-3, P-4, P-5, P-12, P-22 | 18777 | 33.4308 | -88.8011 | 35 | years | Good condition, but area is gaining population; new customers can’t be serviced – need replacing | Normal maintenance and service | 15 | years | 20 | years | 5 | years | 1 | 5 |  | 2 | 168993 |  | 4 | 350428.7 | 70085.74 | 70085.74 | 70085.74 | 70085.74 | 70085.74 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 67929.2709 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | 263356.6167 | ]
Storage | Well #1 pressure tank |  | 1 | 33.4302 | -88.8018 | 35 | years | Fair condition; needs painting/reconditioning | Inspected regularly as of late | 45 | years | 45 | years | 8 | years | 1 | 8 |  | 16 | 40000 |  | 16 | 68778.849 | 8597.3561 | 8597.3561 | 8597.3561 | 8597.3561 | 8597.3561 | 8597.3561 | 8597.3561 | 8597.3561 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238 | 32235.8238
Treatment | Well #1 Chlorinator |  | 1 | 33.5413 | -88.7414 | 15 | years | Good condition | Serviced regularly | 4 | years | 12 | years | 8 | years | 1 | 8 |  | 6 | 14500 |  | 6 | 24932.3328 | 3116.5416 | 3116.5416 | 3116.5416 | 3116.5416 | 3116.5416 | 3116.5416 | 3116.5416 | 3116.5416 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 4684.6164 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 10562.4923 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 23815.4491 | 92330.6846
Dist | Line P-8 - 2.00" line on Adation-Longview Road S | P-8 | 1589.29 | 33.0004 | -88.3522 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 11363.4235 |  | 4 | 41619.6508 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 4161.9651 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687 | 12737.4687
Dist | Line P-9 - 2.00" line on Sykes Road | P-9 | 1762.69 | 33.769 | -88.9786 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 12603.2335 |  | 4 | 46160.5763 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 4616.0576 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944 | 14127.1944
Dist | Line P-31 - 2.00" line on Sykes Road | P-31 | 201.28 | 33.3225 | -88.2201 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 1439.152 |  | 4 | 5271.0351 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 527.1035 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717 | 1613.1717
Dist | Line P-32 - 2.00" line on Sykes Road | P-32 | 2431.57 | 33.7057 | -88.0703 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 17385.7255 |  | 4 | 63676.9214 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 6367.6921 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769 | 19487.9769
Dist | Line P-36 - 2.00" line on New Hope Church Road | P-36 | 1020.51 | 33.6243 | -88.2287 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 7296.6465 |  | 4 | 26724.682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 2672.4682 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442 | 8178.9442
Dist | Line P-42 - 2.00" line on Adation-Longview Road S | P-42 | 870.48 | 33.7854 | -88.5125 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 6223.932 |  | 4 | 22795.7602 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 2279.576 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189 | 6976.5189
Dist | Line P-43 - 2.00" line on Adation-Longview Road S | P-43 | 1481.11 | 33.862 | -88.2071 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 10589.9365 |  | 4 | 38786.679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 3878.6679 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453 | 11870.453
Dist | Line P-44 - 2.00" line on Adation-Longview Road S | P-44 | 926.54 | 33.8289 | -88.69 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 6624.761 |  | 4 | 24263.8356 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 2426.3836 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155 | 7425.8155
Dist | Line P-47 - 2.00" line on Sykes Road | P-47 | 2782.73 | 33.1736 | -88.4959 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 1 | 19896.5195 |  | 4 | 72872.9501 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 7287.295 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717 | 22302.3717
Dist | Line P-48 - 2.50" line on Sykes Road | P-48 | 1129.2 | 33.6071 | -88.0004 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 35 | years | 10 | years | 1 | 10 |  | 2 | 10162.8 |  | 4 | 29571.0095 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 2957.101 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473 | 9050.0473
Treatment | Well #2 Chlorinator |  | 1 | 33.4303 | -88.8019 | 15 | years | Good condition | Serviced regularly | 4 | years | 15 | years | 11 | years | 1 | 11 |  | 6 | 14500 |  | 6 | 30551.744 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 2777.4313 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 5627.4314 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 15548.0407 | 42957.7109 | 42957.7109 | 42957.7109 | 42957.7109
Dist | Line P-2 - 4.00" line on New Light Road | P-2 | 795.07 | 33.335 | -88.0201 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 10574.431 |  | 5 | 43384.8328 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 2892.3222 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931 | 13277.6931
Dist | Line P-6 - 2.00" line on Falcon Road | P-6 | 1682.9 | 33.4843 | -88.3344 | 40 | years | Good condition; upgrade to 4" line in the future | Not adequate for future growth | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 1 | 12032.735 |  | 4 | 61840.8446 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 4122.723 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555 | 18926.0555
Dist | Line P-13 - 4.00" line on New Light Road | P-13 | 4257.53 | 33.51 | -88.9288 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 56625.149 |  | 5 | 232321.9678 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 15488.1312 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799 | 71100.8799
Dist | Line P-21 - 4.00" line on New Light Road | P-21 | 4129.61 | 33.9907 | -88.4509 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 54923.813 |  | 5 | 225341.7173 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 15022.7812 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612 | 68964.612
Dist | Line P-24 - 4.00" line on New Light Road | P-24 | 1801.07 | 33.076 | -88.0696 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 23954.231 |  | 5 | 98279.5486 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 6551.9699 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235 | 30077.9235
Dist | Line P-25 - 4.00" line on New Light Road | P-25 | 1345.79 | 33.9997 | -88.215 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 17899.007 |  | 5 | 73436.1428 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 4895.7429 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337 | 22474.7337
Dist | Line P-28 - 4.00" line on New Light Road | P-28 | 200.88 | 33.9913 | -88.991 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 2671.704 |  | 5 | 10961.4816 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 730.7654 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021 | 3354.7021
Dist | Line P-30 - 4.00" line on New Light Road | P-30 | 3118.87 | 33.8588 | -88.6469 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 41480.971 |  | 5 | 170188.3524 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 11345.8902 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234 | 52085.2234
Dist | Line P-33 - 4.00" line on New Light Road | P-33 | 5190.02 | 33.8594 | -88.4365 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 69027.266 |  | 5 | 283205.4406 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 18880.3627 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911 | 86673.4911
Dist | Line P-34 - 4.00" line on New Light Road | P-34 | 205.5 | 33.2687 | -88.1756 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 2733.15 |  | 5 | 11213.5826 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 747.5722 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562 | 3431.8562
Dist | Line P-35 - 4.00" line on New Light Road | P-35 | 1407.75 | 33.1838 | -88.0121 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 18723.075 |  | 5 | 76817.1335 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 5121.1422 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676 | 23509.4676
Dist | Line P-39 - 4.00" line on New Light Road | P-39 | 2575.57 | 33.6806 | -88.5402 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 34255.081 |  | 5 | 140541.9318 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 9369.4621 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097 | 43012.097
Dist | Line P-40 - 4.00" line on New Light Road | P-40 | 2737.33 | 33.7721 | -88.3983 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 36406.489 |  | 5 | 149368.7402 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 9957.916 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939 | 45713.4939
Dist | Line P-45 - 4.00" line on New Light Road | P-45 | 6179.55 | 33.7825 | -88.093 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 82188.015 |  | 5 | 337201.4329 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 22480.0955 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721 | 103198.6721
Dist | Line P-46 - 4.00" line on New Light Road | P-46 | 168.76 | 33.3011 | -88.2709 | 40 | years | Should be upgraded to 6" line | Not adequate for future growth on western end of system | 20 | years | 35 | years | 15 | years | 1 | 15 |  | 4 | 2244.508 |  | 5 | 9208.7796 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 613.9186 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971 | 2818.2971
Treatment | Well #1 Chemical Feeder |  | 1 | 33.4302 | -88.8018 | 15 | years | Good condition | Serviced regularly | 4 | years | 12 | years | 8 | years | 2 | 16 |  | 7 | 1500 |  | 7 | 2579.2068 | 322.4009 | 322.4009 | 322.4009 | 322.4009 | 322.4009 | 322.4009 | 322.4009 | 322.4009 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 484.6155 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 1092.6716 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 2463.6671 | 9551.4501
Dist | Line P-1 - 3.00" line on John High Road | P-1 | 1208.19 | 33.4824 | -88.8241 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 45 | years | 20 | years | 1 | 20 |  | 3 | 12685.995 |  | 5 | 92510.1996 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 4625.51 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239 | 43358.4239
Dist | Line P-49 - 3.00" line on John High Road | P-49 | 1443.02 | 33.047 | -88.9203 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 45 | years | 20 | years | 1 | 20 |  | 3 | 15151.71 |  | 5 | 110490.9561 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 5524.5478 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893 | 51785.7893
Dist | Line P-50 - 3.00" line on John High Road | P-50 | 1643.53 | 33.815 | -88.0431 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 45 | years | 20 | years | 1 | 20 |  | 3 | 17257.065 |  | 5 | 125843.856 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 6292.1928 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099 | 58981.5099
Dist | Line P-51 - 3.00" line on John High Road | P-51 | 1701.53 | 33.2733 | -88.6831 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 45 | years | 20 | years | 1 | 20 |  | 3 | 17866.065 |  | 5 | 130284.8723 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 6514.2436 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611 | 61062.9611
Dist | Line P-52 - 3.00" line on John High Road | P-52 | 1028.41 | 33.7073 | -88.0807 | 40 | years | Should be upgraded to 4" line | Not adequate for future growth on western end of system | 25 | years | 45 | years | 20 | years | 1 | 20 |  | 3 | 10798.305 |  | 5 | 78744.5802 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 3937.229 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427 | 36906.6427
Storage | Well #2 - Tank 2 paint |  | 1 | 33.44 | -88.9374 | 20 | years | Paint is deteriorating; soiled appearance and paint is starting to flake | Inspected once every two years | 15 | years | 25 | years | 10 | years | 2 | 20 |  | 17 | 750000 |  | 17 | 1476742.9424 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 147674.2942 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 321346.8127 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726 | 1748167.726
Dist | Sector 1 Meters |  | 78 |  |  | 20 | years |  |  | 10 | years | 20 | years | 10 | years | 2 | 20 |  | 11 | 78000 |  | 11 | 153581.266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 15358.1266 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 29771.1444 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624 | 115420.4624
Treatment | Well #2 Chemical Feeder |  | 1 | 33.4302 | -88.8018 | 15 | years | Good condition | Serviced regularly | 4 | years | 15 | years | 11 | years | 2 | 22 |  | 7 | 1500 |  | 7 | 3160.5252 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 287.3205 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 582.1481 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 1608.418 | 4443.9011 | 4443.9011 | 4443.9011 | 4443.9011
Dist | Sector 2 Meters |  | 52 |  |  | 20 | years |  |  | 8 | years | 20 | years | 12 | years | 2 | 24 |  | 11 | 52000 |  | 11 | 117245.3729 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 9770.4477 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 22727.5697 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059 | 88113.059
Dist | Sector 5 Meters |  | 83 |  |  | 20 | years |  |  | 8 | years | 20 | years | 12 | years | 2 | 24 |  | 11 | 83000 |  | 11 | 187141.6529 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 15595.1377 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 36276.6977 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981 | 140641.9981
Dist | Line P-10 - 2.00" line beginning on corner of Sykes Road and New Light Road | P-10 | 2202.4 | 33.0963 | -88.7207 | 40 | years | Good condition; limited distribution | Very few leaks | 25 | years | 50 | years | 25 | years | 1 | 25 |  | 1 | 15747.16 |  | 1 | 85666.5627 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 3426.6625 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022 | 50706.022
Dist | Line P-11 - 6.00" line on New Hope Church Road | P-11 | 219.31 | 33.8633 | -88.1959 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 4331.3725 |  | 5 | 23563.2199 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 942.5288 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993 | 11043.7993
Dist | Line P-14 - 6.00" line on New Light Road | P-14 | 3885.01 | 33.3334 | -88.1472 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 76728.9475 |  | 5 | 417415.2795 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 16696.6112 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481 | 195637.5481
Dist | Line P-18 - 6.00" line on New Light Road | P-18 | 680.15 | 33.2322 | -88.855 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 13432.9625 |  | 5 | 73077.0326 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 2923.0813 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331 | 34250.331
Dist | Line P-20 - 6.00" line on New Hope Church Road | P-20 | 2621.81 | 33.8464 | -88.7203 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 51780.7475 |  | 5 | 281693.8834 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 11267.7553 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533 | 132026.5533
Dist | Line P-26 - 6.00" line on New Light Road | P-26 | 2668.49 | 33.139 | -88.0773 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 52702.6775 |  | 5 | 286709.3004 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 11468.372 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193 | 134377.2193
Dist | Line P-27 - 6.00" line on New Light Road | P-27 | 218.4 | 33.8877 | -88.9557 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 4313.4 |  | 5 | 23465.4472 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 938.6179 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744 | 10997.9744
Dist | Line P-29 - 6.00" line on New Light Road | P-29 | 374.56 | 33.8373 | -88.6474 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 7397.56 |  | 5 | 40243.6717 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 1609.7469 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275 | 18861.7275
Dist | Line P-37 - 6.00" line on New Light Road | P-37 | 98.31 | 33.0665 | -88.7788 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 1941.6225 |  | 5 | 10562.6745 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 422.507 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992 | 4950.5992
Dist | Line P-41 - 6.00" line on New Light Road | P-41 | 8751.49 | 33.108 | -88.4319 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 172841.9275 |  | 5 | 940282.1729 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 37611.2869 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062 | 440699.0062
Dist | Line P-54 - 6.00" line on New Hope Church Road | P-54 | 1455.88 | 33.9209 | -88.6608 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 28753.63 |  | 5 | 156423.4216 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 6256.9369 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865 | 73313.7865
Dist | Line P-55 - 6.00" line on New Light Road | P-55 | 1534.21 | 33.4705 | -88.6495 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 30300.6475 |  | 5 | 164839.3945 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 6593.5758 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523 | 77258.2523
Dist | Line P-56 - 6.00" line on New Light Road | P-56 | 3236.91 | 33.6833 | -88.1984 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 63928.9725 |  | 5 | 347781.7798 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 13911.2712 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598 | 163001.1598
Dist | Line P-57 - 4.00" line on Adation-Longview Road S | P-57 | 2338.47 | 33.4293 | -88.8057 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 4 | 31101.651 |  | 4 | 169196.9559 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 6767.8782 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892 | 79300.5892
Dist | Line P-58 - 6.00" line on New Light Road | P-58 | 218.56 | 33.2526 | -88.1872 | 40 | years | Good condition | No issues | 20 | years | 45 | years | 25 | years | 1 | 25 |  | 5 | 4316.56 |  | 5 | 23482.638 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 939.3055 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315 | 11006.0315
Supply | Well #2 |  | 1 | 33.4302 | -88.8018 | 40 | years | Well operating at 85% capacity | Well should be inspected regularly and maintained | 25 | years | 50 | years | 25 | years | 1 | 25 |  | 18 | 1000000 |  | 18 | 5440127.7893 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 217605.1116 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59 | 3220010.59
Dist | Sector 8 Meters |  | 51 |  |  | 20 | years |  |  | 7 | years | 20 | years | 13 | years | 2 | 26 |  | 11 | 51000 |  | 11 | 123051.4991 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 9465.4999 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 23853.0651 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194 | 92476.5194
Dist | Sector 4 Meters |  | 21 |  |  | 20 | years |  |  | 6 | years | 20 | years | 14 | years | 2 | 28 |  | 11 | 21000 |  | 11 | 54220.1097 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743
Dist | Sector 10 Meters |  | 21 |  |  | 20 | years |  |  | 6 | years | 20 | years | 14 | years | 2 | 28 |  | 11 | 21000 |  | 11 | 54220.1097 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 3872.865 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 10510.3621 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743 | 40747.8743
Dist | 2" valve - northwest corner of New Light Road and Sturgis-West Point Road |  | 1 | 33.47 | -88.97 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 20 |  | 30 |  | 10 |  | 3 | 30 |  | 8 | 1250 |  | 9 | 3445.7335 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 6693.0224 | 6693.0224 | 6693.0224 | 6693.0224 | 6693.0224
Dist | 2" valve - Sturgis-West Point Road |  | 1 | 33.6637 | -88.6964 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 20 |  | 30 |  | 10 |  | 3 | 30 |  | 8 | 1250 |  | 9 | 3445.7335 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 344.5734 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 876.7815 | 6693.0224 | 6693.0224 | 6693.0224 | 6693.0224 | 6693.0224
Dist | Sector 9 Meters |  | 37 |  |  | 20 | years |  |  | 5 | years | 20 | years | 15 | years | 2 | 30 |  | 11 | 37000 |  | 11 | 102227.3693 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 6815.158 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 19816.3868 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244 | 76826.6244
Dist | Well #1 Booster Pump | FUTURE | 1 | 33.4302 | -88.8018 | 30 | years |  |  | 5 |  | 30 | years | 30 | years | 1 | 30 |  | 23 | 150000 |  | 23 | 210481.0877 | 42096.2175 | 42096.2175 | 42096.2175 | 42096.2175 | 42096.2175 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 53557.8021 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716 | 408840.2716
Treatment | Line P-59 - 6.00" line on Well | P-59 | 651.37 | 33.3549 | -88.2266 |  | years | Good condition | No issues | 18 | years | 50 | years | 32 | years | 1 | 32 |  | 5 | 12864.5575 |  | 5 | 112453.895 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 3514.1842 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388 | 66561.4388
Dist | Sector 3 Meters |  | 19 |  |  | 20 | years |  |  | 4 | years | 20 | years | 16 | years | 2 | 32 |  | 11 | 19000 |  | 11 | 56175.0446 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 3510.9403 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 10889.3188 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607 | 42217.0607
Dist | Sector 6 Meters |  | 37 |  |  | 20 | years |  |  | 4 | years | 20 | years | 16 | years | 2 | 32 |  | 11 | 37000 |  | 11 | 109393.5079 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 6837.0942 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 21205.5155 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708 | 82212.1708
Dist | Line P-7 - 2.00" line on Morris Road | P-7 | 980.24 | 33.3347 | -88.2455 | 40 | years | Good condition; limited distribution | No issues | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 1 | 7008.716 |  | 1 | 75074.2849 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 2144.9796 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548 | 44436.4548
Dist | Line P-15 - 4.00" line on Morris Road | P-15 | 1589.82 | 33.9128 | -88.1474 | 40 | years | Good condition; limited distribution | Not adequate for future growth on western end of system | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 4 | 21144.606 |  | 4 | 226491.7248 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 6471.1921 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083 | 134060.4083
Dist | Line P-16 - 2.00" line on Seale Road (location needs to be checked with engineer and corrected) | P-16 | 1231.89 | 33.47 | -88.97 | 40 | years | Good condition; limited distribution | Very few leaks | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 1 | 8808.0135 |  | 1 | 94347.5688 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 2695.6448 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078 | 55844.3078
Dist | Line P-17 - 2.00" line on Burney Walker Lane | P-17 | 2394.84 | 33.6637 | -88.6964 | 40 | years | Good condition; limited distribution | Very few leaks | 15 | years | 50 | years | 35 | years | 1 | 35 | Note: Address should be changed to Burney Walker Lane | 1 | 17123.106 |  | 1 | 183415.1846 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 5240.4338 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124 | 108563.4124
Dist | Line P-19 - 2.00" line on Augusta Drive | P-19 | 470.76 | 33.6848 | -88.0052 | 40 | years | Good condition; limited distribution | Very few leaks | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 1 | 3365.934 |  | 1 | 36054.4054 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 1030.1259 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956 | 21340.5956
Dist | Line P-38 - 2.00" line on Augusta Drive | P-38 | 1133.49 | 33.6133 | -88.9331 | 40 | years | Good condition; limited distribution | No issues | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 1 | 8104.4535 |  | 1 | 86811.3434 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 2480.3241 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174 | 51383.6174
Dist | Line P-53 - 2.00" line on Augusta Drive | P-53 | 851.11 | 33.0999 | -88.108 | 40 | years | Good condition; limited distribution | No issues | 15 | years | 50 | years | 35 | years | 1 | 35 |  | 1 | 6085.4365 |  | 1 | 65184.5208 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 1862.4149 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053 | 38582.7053
Dist | Sector 7 Meters |  | 42 |  |  | 20 | years |  |  | 2 | years | 20 | years | 18 | years | 2 | 36 |  | 11 | 42000 |  | 11 | 142196.1518 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 7899.7862 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 27564.1833 | 106864.2421 | 106864.2421 | 106864.2421 | 106864.2421 | 106864.2421 | 106864.2421 | 106864.2421
Supply | Well #1 |  | 1 | 33.4302 | -88.8018 | 35 | years | Well is currently inoperable, but is being refurbished | Well should be maintained better in the future than in the past | 40 | years | 40 | years | 40 | years | 1 | 40 |  | 19 | 1000000 |  | 19 | 15030539.26 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 375763.4815 | 5647927.7612 | 5647927.7612 | 5647927.7612 | 5647927.7612 | 5647927.7612
Dist | 4” valve – southeast corner of New Light Road and Gray Road |  | 1 | 33.4301 | -88.8019 | 40 | years | Needs replacement for future expansion | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 9 | 1750 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 4" valve - southeast corner of Gray Road and New Light Road |  | 1 | 33.8636 | -88.2173 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 9 | 1750 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 4" valve - Well #1 Valve 1 |  | 1 | 33.3199 | -88.8319 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 9 | 1750 |  | 9 | 4835.0783 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458
Dist | 4" valve - Well #1 Valve 2 |  | 1 | 33.0888 | -88.297 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 9 | 1750 |  | 9 | 4835.0783 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458
Dist | 4" valve - Well #1 Valve 3 |  | 1 | 33.0811 | -88.4659 | 40 |  | Needs replacement for future expansion | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 9 | 1750 |  | 9 | 4835.0783 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 322.3386 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458 | 1816.8458
Dist | 6" valve - northeast corner of New Light Road and Longview-Adaton Road |  | 1 | 33.2219 | -88.9244 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - southeast corner of New Light Road and Longview-Adaton Road |  | 1 | 33.5641 | -88.0355 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - northwest corner of Longview-Adaton Road and Morris Lane |  | 1 | 33.6209 | -88.6906 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - north side of New Light Road and west of Burney Walker Lane |  | 1 | 33.7783 | -88.6832 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - south side of New Light Road and east of Burney Walker Lane |  | 1 | 33.7639 | -88.3632 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - northwest corner of New Light Road and Sykes Road |  | 1 | 33.7556 | -88.612 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - northeast corner of New Light Road and Sykes Road |  | 1 | 33.3556 | -88.273 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Dist | 6" valve - southeast corner of Sykes Road and Seale Road |  | 1 | 33.82 | -88.7532 | 40 |  | Good condition | Exercised properly, no service issues | 25 | years | 40 | years | 15 | years | 3 | 45 |  | 10 | 2400 |  | 10 | 6630.9645 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 442.0643 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743 | 2491.6743
Treatment | SCADA system |  | 1 | 33.4304 | -88.8017 | 20 | years | Good condition | Under maintenance contract | 1 | years | 20 | years | 19 | years | 3 | 57 |  | 20 | 25000 |  | 20 | 90573.8703 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 4767.0458 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 17557.4003 | 68068.7057 | 68068.7057 | 68068.7057 | 68068.7057 | 68068.7057 | 68068.7057
Safety | Fire hydrant 1 - Longview Adaton Road |  | 1 | 33.4307 | -88.8019 | 35 | years | Good condition | Serviced/repaired/ maintained on regular basis | 8 | years | 40 | years | 32 | years | 2 | 64 |  | 13 | 7500 |  | 13 | 65560.2971 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655
Safety | Fire hydrant 2 - corner of New Light Road and Longview Adaton Road |  | 1 | 33.4308 | -88.8011 | 35 | years | Good condition | Serviced/repaired/ maintained on regular basis | 8 | years | 40 | years | 32 | years | 2 | 64 |  | 13 | 7500 |  | 13 | 65560.2971 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655
Safety | Fire hydrant 3 - Burney Walker Lane |  | 1 | 33.4304 | -88.8011 | 35 | years | Good condition | Serviced/repaired/ maintained on regular basis | 8 | years | 40 | years | 32 | years | 2 | 64 |  | 13 | 7500 |  | 13 | 65560.2971 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655
Safety | Fire Hydrants | FUTURE | 8 |  |  | 35 | years |  |  | 10 |  | 35 | years | 35 | years | 2 | 70 |  | 13 | 180000 |  | 13 | 354418.3062 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 10126.2373 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029 | 108467.8029
Safety | Fire hydrant 4 - corner of New Light Road and John High Road |  | 1 | 33.4304 | -88.8011 | 35 | years | Good condition | Serviced/repaired/ maintained on regular basis | 8 | years | 40 | years | 32 | years | 2 | 64 |  | 13 | 7500 |  | 13 | 65560.2971 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 2048.7593 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655 | 24635.1655
Treatment | Well #2 fence and yard |  | 1 | 33.2451 | -88.4557 | 50 | years | Good condition | Maintained regularly | 25 |  | 65 |  | 40 |  | 2 | 80 |  | 21 | 15000 |  | 21 | 225458.0889 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 5636.4522 | 283619.5271 | 283619.5271 | 283619.5271 | 283619.5271 | 283619.5271
Treatment | Well #1 fence and yard |  | 1 | 33.1468 | -88.6324 | 50 | years | Being rebuilt and landscaped | Maintained regularly | 0 |  | 50 |  | 50 |  | 2 | 100 |  | 21 | 15000 |  | 21 | 443924.8555 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971 | 8878.4971
Misc | 40’x60’ meeting and storage building |  | 1 | 33.4304 | -88.8011 | 40 | years | Good condition | No issues | 5 | years | 50 | years | 45 | years | 4 | 180 |  | 23 | 150000 |  | 23 | 3163644.2519 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056 | 70303.2056
[20 empty] | 5321545.1565 |  |  | 35140898.0858 | 1408409.5219 | 1408409.5219 | 1408409.5219 | 1408409.5219 | 1408409.5219 | 1418031.3674 | 1418031.3674 | 1418031.3674 | 1443400.1245 | 1443400.1245 | 1709145.7292 | 1712290.5569 | 1745929.2388 | 1760316.804 | 1773591.7982 | 2271971.0521 | 2293717.8518 | 2293717.8518 | 2313382.2489 | 2326172.6034 | 2557860.1391 | 2557860.1391 | 2557860.1391 | 2557860.1391 | 2557860.1391 | 7071347.4255 | 7082294.3048 | 7082294.3048 | 7082294.3048 | 7082294.3048 | 7185326.2357 | 7185326.2357 | 7523093.857 | 7591717.3113 | 7652192.3358 | 10021933.9082 | 10114268.3053 | 10114268.3053 | 10193568.3642 | 10244079.6695 | 15805859.5059 | 15836104.6591 | 15836104.6591 | 15836104.6591 | 15911707.6777